HW/SW Calibration for HYPSO
Samuel Boyle*
Cameron Penne
Aria Alinejad
Dennis Langer
Milica Orlandić
Norwegian University of Science and Technology (NTNU)

---
Hyperspectral Imaging Satellites
The HYPSO Mission from the Norwegian University of Science and Technology utilises small satellites
HYPSO-1 was launched in January of 2022 (6U volume, COTS)
HYPSO-2 was launched in August of 2024 (6U volume, COTS)
Both reside in Low Earth Orbit (LEO). HYPSO-1 initially had an orbital period of 96 Minutes
Both are small satellites.
[Speaker Notes: Text : The HYSPO-1 Mission from the Norwegian University of Science and Technology utilises small satellites to monitor norwegian coasts, fjords and forests. Using small satellites introduces limitations in the uplink and downlink capabilities of the satellite, due to smaller payload sizes. This impacts the antenna/radio capabilities and also the onboard processing and power capabilities. HYPSO satellites feature a COTs Processing system with FPGA for coprocessing tasks. Art : HYPSO mission badge? Captures?]

---
Background on Hyperspectral Imaging
Push broom imaging sensor. Sony IMX249 CMOS
400nm to 800nm spectral range.
5nm spectral resolution.
Low spatial resolution (depending on maneuver)
40km Swath Width.
[Speaker Notes: Text : The HYSPO-1 Mission from the Norwegian University of Science and Technology utilises small satellites to monitor norwegian coasts, fjords and forests. Using small satellites introduces limitations in the uplink and downlink capabilities of the satellite, due to smaller payload sizes. This impacts the antenna/radio capabilities and also the onboard processing and power capabilities. HYPSO satellites feature a COTs Processing system with FPGA for coprocessing tasks. Art : HYPSO mission badge? Captures?]

---
HYPSO Data
HYPSO-1 has over 3000 captured images in its lifetime and has various labelled datasets, including
Sea-Land-Cloud
Wildfires
Algal blooms and ocean anomalies.
This dataset has been used to train models for classification tasks
Use of HYPSO-1 data for HYPSO-2 is of interest for the mission considering the satellites are using the same sensor

---
Sea-Land-Cloud datasets
As part of the work for the HYPSO mission, data has been labelled for the HYPSO-1 and HYPSO-2.
42 labelled for HYPSO-1, 30 labelled for HYPSO-2 by Philip Berg (Master Student)
Also Sea-land-cloud dataset from Justo et al (~30 Images for HYPSO-1)

---
CNN for Sea-land-Cloud
Various CNNs have been trained for the Sea-land-cloud dataset.
Results from testing with early version of "WaveletCNN"
Generic CNNs *

---
Lifetime of HYPSO 1/2
HYPSO-1 will de-orbit in 2026 or end of 2025. Has managed over 3000 Hyperspectral Captures
HYPSO-2 will continue to image for many years.
Transferability of data obtained and labelled for HYPSO-1 to HYPSO-2 is becoming a priority.

---
Constraints on HYPSO
SmallSatellites are generally low-power embedded systems.
Constrained antenna size introduces communication bottleneck (1Mb/s) (S-Band currently) H2 (May use X-band eventually)
Constrained onboard storage capacities
Processing should be done quickly, then system sleeps and recharges via solar.

---
Calibration Strategies
Calibration has been part of the ground processing pipeline since its development by Henriksen et al.
It was found to help bridge HYPSO-1 and HYPSO-2 data during training.
Using a mixed training dataset positively impact performance of HYPSO-2
Main focus being smile and radiometric calibration.

---
Smile effect
This is a known spectral distortion which occurs due to issues in sensor alignment during capture.
For smile, a polynomial fit is made to characterise and correct for the curvature of the spectral axis.

---
Radiometric calibration
Marie et al calibrated with tungsten halogen lamp for radiometric calibration.  Using spectral light sources to illuminate the sensor with known wavelengths, background and matrix coefficients were extracted.

---
HYPSO Imaging process
Images captured – with a frame being an image row.
The frame is captured, smile corrected using integer coefficients and then binned after.
It is intentional to not change the datatype from integer for any purpose at this stage.
All data is 16 bit unsigned integer until calibrated.

---
Context for onboard calibration
Calibration transforms integer sensor values to floating point. This type is incompatible with CCSDS and is twice the size of the image normally.
Leveraging Dataflow based processing, radiometric values can be calculated on demand, used, and discarded.
The same image buffers in RAM can be used for CCSDS.

---
HLS Onboard Calibration
Image streamed in,
co-efficients streamed in ,
Organised in stream FIFOs, coefficients are re-read when needed.

---
Results
ZYNQ-7000 FPGA
Basic version of the calibration, has decent throughput (Compared to subsequent algorithms).
Could be improved by axi-port width widening regardless if needed. Potentailly 2-3x.

---
HYPSO Processing Pipeline
The module would be useful in the context of an image processing pipeline.

---
Conclusion
The data product from radiometric calibration made using data between H1 and H2 (Same instrument) a viable strategy.
Modules for radiometric calibration developed alongside methodology for use onboard HYPSO-1 and HYPSO-2 shown to have sufficient throughput.
Strategy for use with other IPs as a dataflow module.
[Speaker Notes: Conclusion from paper.]

---
Questions?
Thank you!
[Speaker Notes: Thanks and questions?]